Portable Appliance Testing Report for:

Petworth Disco Karaoke

Petworth

05/04/2015

Testing undertaken by Chi Electrical

Index:

1. Portable Appliance Test Certificate

2. Calibration Check Certificate

3. Summary & Notes

4. Portable Appliance Test Data

1. Portable Appliance Test Certificate

Certificate of Electrical Safety This is to certify that all appliances listed in the attached data sheets have been Portable Appliance Tested in accordance with Electricity At Work Regulations Petworth Disco Karaoke Petworth Month and Year: April 2015 Number Of Items tested:74 Electrician: Bryan Hall Date of test:05/04/2015 Signature: B.J Hall electronically signed

2. Calibration Check Certificate

Calibration Check Certificate This certificate certifies that the Portable Appliance Tester has been inspected for correct function and calibration using the following equipment. Checkbox: Megger Serial Number: 000258357 Calibration Certificate Number: 26874159/15 Date of Calibration: 04/02/2015 Portable Appliance Tester Details: Make: Seaward Type: Pat 200 Serial Number: 1594/5879 Check details: Date of Check: 01/04/2015 Engineer: Bryan Hall TP1 TP2 Earth Bond Test: <0.01Ω <0.01Ω Insulation Test: 299MΩ 299MΩ Flash Test: N/A N/A Leakage Test: <3.5ma <3.5ma The following parameters are used when checking the Portable Appliance Tester(s): Earth Bond Test: +/- 2% Insulation Test: +/- 2% Flash Test: +/- 10% Earth Leakage Test: +/- 1% Signature: B J Hall_electronically signed_________ Recheck Due:_01/05/2015_____________________

3. Summary & Notes

74 Items have been tested.

0 Number of plugs replaced.

2 Item(s) of equipment rewired.

3 Fuses replaced.

1 Visual Inspection.

0 item(s) have failed testing – see data sheets for more information.

Notes:

Some equipment is due for re-testing in April 2016

If you would like us to carry out the PAT testing for next year, please call us on:

(01730) 858540 or (07938) 642019.

4. Portable Appliance Test Data

| item | make | model | class | fuse | defect | earth bond | ins res | earth leakage | location |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 2 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 3 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 4 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 5 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 6 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 7 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 8 |  | adaptor | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 9 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 10 | draper | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 11 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 12 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 13 |  | hazer | 1 | 3 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 14 |  | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 15 |  | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 16 | toshiba | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 17 |  | lead | 1 | N/A | N/A | visual | visual | visual | N/A |
| 18 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 19 | toshiba | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 20 |  | extension lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 21 |  | extension lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 22 |  | lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 23 |  | dome light | 2 | 3 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 24 |  | extension lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 25 |  | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 26 |  | adaptor | 1 | N/A | N/A | visual | visual | visual | N/A |
| 27 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 28 |  | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 29 |  | extension lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 30 |  | dome light | 2 | 3 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 31 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 32 |  | adaptor | 2 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 33 | tesco | t.v | 2 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 34 |  | dome light | 2 | 5 | N/A | N/A | >200MΩ | N/A | N/A |
| 35 |  | adaptor | 2 | N/A | N/A | N/A | >200MΩ | N/A | N/A |
| 36 |  | adaptor | 2 | N/A | N/A | N/A | >200MΩ | N/A | N/A |
| 37 |  | adaptor | 2 | N/A | N/A | N/A | >200MΩ | N/A | N/A |
| 38 |  | zx 5 | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 39 |  | zx 5 | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 40 |  | moon flower | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 41 |  | y lead | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 42 |  | speaker | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 43 |  | moon lex | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 44 |  | strobe | 2 | 3 | N/A | N/A | >200MΩ | N/A | N/A |
| 45 |  | led penguin | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 46 |  | led penguin | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 47 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 48 |  | adaptor | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 49 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 50 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 51 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 52 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 53 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 54 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 55 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 56 |  | up light | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 57 |  | speaker | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 58 |  | speaker | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 59 |  | snow machine | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 60 |  | remote | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 61 |  | dome light | 2 | 5 | N/A | N/A | >200MΩ | N/A | N/A |
| 62 |  | lead | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 63 |  | bubble machine | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 64 |  | 3 way adaptor | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 65 |  | 3 way adaptor | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 66 |  | pop corn | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 67 |  | candy floss | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 68 |  | candy floss | 1 | 5 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 69 |  | kettle | 1 | N/A | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 70 |  | base | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 71 |  | extension lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 72 |  | extension lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 73 |  | extension lead | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 74 |  | steamer | 1 | 13 | N/A | <0.01Ω | >200MΩ | <3.5mv | N/A |
| 75 | end | end | end | end | end | end | end | end | end |

Thank you for your business!

All materials remain the property of Chi Electrical until paid for in full

Please send cheques to 5 Perche court Midhurst West Sussex GU29 9TE

B.A.C.S to chi electrical b j hall account number 23845818 sort code 20-20-62

All Debit and Credit cards are accepted

INVOICE

| Richard ince | ## For p.a.t testing |  |
| --- | --- | --- |
| Bryan Hall T/A Chi Electrical, (01730) 858540 - (07938) 642019 |  |  |
|  |  | Invoice 147 Date: 07/04/2015 |

| DESCRIPTION | HOURS/CIRCUITS | RATE | AMOUNT |
| --- | --- | --- | --- |
| Portable appliance testing | 74 items | £0.75 per item | £55.50 |
|  | TOTAL |  | £55.50 |

Thank you for your business!

All materials remain the property of Chi Electrical until paid for in full

Please send cheques to 5 Perche court Midhurst West Sussex GU29 9TE

B.A.C.S to chi electrical b j hall account number 23845818 sort code 20-20-62

All Debit and Credit cards are accepted